## Operations Report Instructions
Instructions for the Monthly Operations Report
Kansas Water Pollution Control Permit for Agricultural and Related Wastes
PLEASE READ THE FOLLOWING INSTRUCTIONS CAREFULLY. THESE INSTRUCTIONS APPLY TO BOTH STATE AND FEDERAL KANSAS WATER POLLUTION CONTROL PERMITTED FACILITIES. CONTACT KDHE AT THE CONTACT INFORMATION LISTED BELOW IF YOU HAVE QUESTIONS.
NOTE FOR FEDERAL PERMITTED FACILITIES (NPDES PERMITS): If the monthly Operations Reports are completed electronically using this Microsoft Excel Workbook,™ the annual totals for your facility will be automatically calculated and a portion of the Annual Report will be completed.
I. | Record the Year, Facility Name, KDHE Permit Number and NPDES Permit Number in the spaces provided. All permitted facilities have a state KDHE Permit number (A-XXXX-XXXX). Only federal permitted facilities have a NPDES Permit number (KSXXXXXXX).
NOTE: If you are utilizing the Workbook electronically, this information will automatically transfer from the January Report to the remaining reports.
II. | Record the Maximum Number Of Animals (head count) that were actually confined at the facility at any one time during the month (not the permitted capacity). The maximum head count shall be recorded for each animal type/weight classification confined at the facility.
NOTE: If you are utilizing the Workbook electronically, select the animal type/weight from the drop-down box. The animal type/weight selections made on the January Report will automatically appear on the remaining reports. If you need to add an animal type/weight classification during the year, return to the January Report, select the animal type/weight and enter "0" or leave the space blank for the head count.
III. | Record the Daily Precipitation amounts in inches. For snowfall, record the inches of snow and add an "S" (e.g. 6S).
IV. | Daily Livestock Waste and/or Process Wastewater Disposal
Land Application - The following information shall be recorded for each day livestock waste and/or process wastewater is land applied:
| Ø | Field ID: the destination of the livestock waste and/or process wastewater. The Field ID shall be consistent with the name or number used to identify the field in the most recently approved Waste Management Plan or Nutrient Management Plan. If more than one field is applied to on the same day, separate the fields in the Field ID column by a slash (/), comma (,), etc. If you are utilizing the Workbook electronically, a separate row can be added for each additional field applied to (right click on the row number and choose insert).
| Ø | Soil Cond.: the soil condition - frozen (f), thawed (t), saturated (s) or snow covered (sc) - at the time of application. As a reminder, liquid waste shall not be applied when the ground is frozen, saturated, or snow covered without prior permission from KDHE.
NOTE: If you are utilizing the Workbook electronically, select the soil condition from the drop-down box.
| Ø | # of Acres: the number of acres the livestock waste and/or process wastewater was applied to.
| Ø | Crop: the crop or other type of field cover that the livestock waste and/or process wastewater was applied to.
| Ø | Waste Source: the specific source the livestock waste was taken from and/or the type of waste that was applied (e.g. manure stockpile, Retention Control Structure 2 (RCS 2), compost, etc.).
| Ø | Application Method: the method used to apply the livestock waste and/or process wastewater (e.g. broadcast, center pivot, etc.).
NOTE: If you are utilizing the Workbook electronically, select the application method from the drop-down box. If "other" is selected, describe the method in the Corrective Action/Comment box.
| Ø | Total Waste Application: the total tons (solids) or gallons (liquids) of livestock waste and/or process wastewater that was applied.
Transfers Between Structures - Record the following information for each day wastewater is transferred between Retention Control Structures (RCS):
| Ø | RCS ID: the destination of the wastewater. Record the name or number used to identify the RCS that received the wastewater.
| Ø | Waste Source: the name or number used to identify the RCS that the wastewater was transferred from.
NOTE: the volume (gallons) transferred between RCSs does not need to be recorded.
V. | Wastewater Retention Control Structure Levels - Record the wastewater level (measured from the top of berm to the water surface) in each Retention Control Structure (RCS) present at the facility.
FEDERAL PERMITTED FACILITIES: record the wastewater level weekly for each RCS.
STATE PERMITTED FACILITIES: record the wastewater level on the 1st and 15th of each month for each RCS.
BOTH FEDERAL AND STATE PERMITTED FACILITIES: whenever the wastewater in a RCS is above the permitted operating level, the actual wastewater level (measured from the top of berm to the water surface) shall be recorded DAILY until the permitted operating level is achieved.
NOTE: For your convenience, space is provided (the shaded boxes located in the column heading area) for the permitted operating level to be recorded for each RCS. Recording the permitted operating level is not required, but is there to assist you in correctly documenting your wastewater levels.
VI. | In the Visual Inspections column verify that the required routine daily and weekly visual inspections of the facility were conducted. Verification shall be recorded at a minimum of once per week.
Daily Inspections: water lines, which includes drinking water and cooling water lines.
Weekly Inspections: storm water diversions, runoff diversion structures and devices conveying contaminated storm water to the manure storage area and wastewater retention control structure(s).
VII. | In the space provided at the bottom of the report, document any corrective action taken to correct deficiencies identified during the daily and weekly visual inspections. Also, provide any comments on operation and maintenance activities (e.g. berm inspection, maintenance and repair), dates when manure application equipment was calibrated and/or nutrient management issues (e.g. cropping changes as allowed by the Nutrient Management Plan and periods when fields may be unsuitable for land application due to crops or field nutrient budget restrictions).
VIII. | If your permit requires you to submit the monthly Operations Reports mail, fax or email the required month to KDHE at the address listed below by the 10th of the month following the reporting period. A copy of the Report shall be kept on-site for a minimum of five years plus the current calendar year.
|  | CONTACT INFORMATION: | KDHE - BEFS - Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
Phone: (785) 296-6432; Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov
LWMS Monthly Operations Report Instructions - Revised January 2021

## JAN
JANUARY | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: | [5 empty] | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: Enter the year.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Refer to Table 1 in Section B of your current Permit.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## FEB
FEBRUARY | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## MAR
MARCH | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## APR
APRIL | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## MAY
MAY | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## JUN
JUNE | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## JUL
JULY | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## AUG
AUGUST | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## SEP
SEPTEMBER | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## OCT
OCTOBER | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## NOV
NOVEMBER | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## DEC
DECEMBER | [8 empty] | 20__ | OPERATIONS REPORT
FACILITY NAME: | [9 empty] | MAXIMUM NUMBER OF ANIMALS CONFINED:
[12 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
KDHE PERMIT #: |  |  | 0 |  |  | NPDES PERMIT #: |  | KS
I CERTIFY THAT THE INFORMATION CONTAINED HEREIN IS TRUE AND CORRECT TO THE BEST OF MY KNOWLEDGE AND BELIEF. | [11 empty] | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
|  |  | Signature of Manager or Owner | [5 empty] | Date |  |  | Head # |  |  | Animal Type/Weight |  |  |  |  | Head # |  |  | Animal Type/Weight
Date | Precipitation (inches) | Daily Livestock Waste and/or Process Wastewater Disposal | [8 empty] | Wastewater Retention Control Structure (RCS) Levels | [14 empty] | Visual Inspections
[11 empty] | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #12 | #13 | #14 | #15
Total Waste Application
|  | Field ID or RCS ID |  | Soil Cond. | # of Acres | Crop | Waste Source | Application Method | Solids | Liquids | Wastewater Retention Control Structure (RCS) Levels #1: Optional: Record the permitted Operating Level for each structure in the above boxes.
[9 empty] | (tons) | (gallons) | Wastewater Retention Control Structure (RCS) Levels #1: For each structure, record depth (to the nearest 1/2 ft.) from top of berm to water surface.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| 0 | [7 empty] | 0 | 0
Report any corrective action taken due to the visual inspections; operation, maintenance, and nutrient management comments; and dates equipment was calibrated in the space provided.
Submit To: |  | KDHE-BEFS-Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
|  | Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | Wastewater Retention Control Structure (RCS) Levels #3: LWMS Monthly Operations Report - Revised April 2020
Note on J1: The year is copied from the January report.
Note on D3: Enter the name of your facility.
Note on K3: Select the animal type and weight classification from the drop-down box, and enter the maximum head actually confined at any one time during the month.
Note on P3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X3: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on D5: Enter your KDHE permit number (A-XXXX-XXXX).
Note on I5: Enter your NPDES permit number (KSXXXXXXX).
Note on P6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X6: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on P9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on X9: If you need to add an animal type during the year, return to January report, select the animal type and enter "0" for the head count or leave blank.
Note on B12: For snowfall, record the inches of snow and add the letter "S".
Note on AA12: Verify weekly that all required daily and weekly visual inspections were conducted.
Note on C15: Enter the destination of the waste (Field for land application or RCS for transfers between structures). Separate multiple fields by a slash (/), comma (,), etc. or add a separate row.
Note on E15: Select the Soil Condition from the drop-down box. f = frozen t = thawed s = saturated sc = snow covered
Note on F15: Enter the number of acres applied to.
Note on G15: Enter the crop or other field cover.
Note on H15: Enter the source and/or type of waste (RCS1, compost, litter stockpile, etc.)
Note on I15: Select the Application Method from the drop-down box. If "other" is selected please describe the method in the comment box.
Note on J15: Enter the total solid waste applied.
Note on K15: Enter the total liquid waste applied.
Note on L15: Permitted Operating Levels are copied from the January report.
Note on L17: If the wastewater level is above the permitted op level, record depth daily until the permitted op level is achieved.

## Annual Report Instructions
Instructions for the Annual Report
Federal National Pollutant Discharge Elimination System (NPDES) Permits
PLEASE READ THE FOLLOWING INSTRUCTIONS CAREFULLY. THESE INSTRUCTIONS APPLY ONLY TO FEDERAL (NPDES) KANSAS WATER POLLUTION CONTROL PERMITTED FACILITIES. CONTACT KDHE AT THE CONTACT INFORMATION BELOW IF YOU HAVE QUESTIONS.
NOTE: If the monthly Operations Reports were completed electronically using this Microsoft Excel Workbook,™ the annual totals for your facility will be automatically calculated and a portion of the Annual Report will be completed. However, for the automatic calculations transferred to the Annual Report to be accurate, the monthly Operations Reports must be completed electronically for the entire reporting period. The Exported Waste Report and the Land Application Summary annual totals will also be automatically calculated and transferred to the Annual Report if completed electronically. Please refer to the Exported Waste Report and Land Application Summary instructions.
I. | Number and Type/Weight of Animals
Record the maximum number (head count) of animals that were actually confined at the facility at any one time during the reporting period. The maximum head count shall be recorded for each animal type/weight classification confined at the facility.
NOTE: If you are utilizing the Workbook electronically, the animal type/weight selections made on the January Operations Report should appear and the maximum number of animals confined will automatically be recorded.
II. | Livestock Waste Generated
Record the estimated amount of manure/litter and process wastewater that was generated at the facility during the reporting period. The amount of manure/litter generated can be estimated by using the Waste Generated Tables included in this Workbook. Process wastewater should be estimated by totaling the amount of liquid waste land applied and/or exported during the entire reporting period.
NOTE: If you are utilizing the Workbook electronically, the estimated amount of manure/litter and process wastewater will automatically be calculated and recorded on the Annual Report. The manure/litter calculations will be based on the maximum number of animals that were recorded on the Annual Report. However, you may delete the automatic calculations and record your own calculations.
III. | Livestock Waste Exported
A. If any manure, process wastewater, litter, and/or compost was transferred (sold or given away) during the reporting period the Exported Waste Report shall be completed and submitted with the Annual Report. Refer to the Exported Waste Report for the instructions.
NOTE: Livestock waste is only considered to be exported if it is transferred (sold or given away) to other persons who are not associated with the facility, and thus the facility's owners and operators no longer have control over the amount or the timing of the waste application.
B. Record the total amounts of manure, process wastewater, litter, and/or compost that were exported during the reporting period.
NOTE: If you are utilizing the Workbook electronically, the total amounts of manure, process wastewater, litter, and/or compost exported will automatically be calculated on the Exported Waste Report and the totals recorded on the Annual Report.
IV. | Livestock Waste Land Applied
A. If livestock waste and/or process wastewater was applied to land included in your Nutrient Management Plan (NMP) and under the control of the facility during the reporting period, the Land Application Summary shall be completed and submitted with the Annual Report. Refer to the Land Application Summary for the instructions.
B. Record the total amounts of solid (manure and litter) and liquid waste (wastewater) that were land applied during the reporting period.
NOTE: If you are utilizing the Workbook electronically, the total amounts of solid and liquid waste land applied will automatically be calculated on the Land Application Summary and the totals recorded on the Annual Report.
C. Record the total acres of land included in your NMP; whether or not they were used for land application during the reporting period.
D. Record the total acres of land where solid and/or liquid waste was spread during the reporting period. Include only land application acres that are under the control of the facility.
E. Affirm whether or not the current version of the facility's NMP was prepared or approved by a certified nutrient management planner.
V. | Summary of Reportable Events
If any water pollution incident, overflow, or discharge from the facility (e.g. broken pipe) and/or land application site occurred during the reporting period, the Summary of Reportable Events shall be completed and submitted with the Annual Report. Refer to the Summary of Reportable Events for instructions.
REMINDER: All water pollution incidents, overflows, and discharges are required to be reported immediately upon discovery [within two hours] to KDHE by telephone at (785) 296-1679 and a written report shall be submitted to KDHE within three days of the incident.
Emergency Dewatering - Log any emergency dewatering events in on the emergency dewatering summary page and submit with the annual report.
VI. | Soil and Manure Test Results
Submit copies of manure, wastewater, and/or soil test results obtained during the reporting period for fields listed in your Nutrient Management Plan. Due to adverse weather conditions, sampling may be conducted into the next year after the current reporting period has ended provided the sampling results are submitted by the reporting due date of February 28th each year for the previous year’s annual reporting period. If a Nutrient Management Plan was submitted during this current annual reporting period, which included manure and soil sampling data for that period, you will not need to submit the data again with this year’s annual report. Refer to your Nutrient Management Plan for manure and soil sampling protocols and frequencies.
VII. | Certification
The Annual Report shall be signed by a responsible corporate officer or manager who is authorized to make management decisions which govern the operations of the facility.
SUBMIT a completed and SIGNED Annual Report with applicable supplemental reports to KDHE by February 28th of each year for the previous calendar year.
NOTE: If submitted by email, the Annual Report must be a scanned signed copy.
CONTACT INFORMATION: |  |  | KDHE - BEFS - Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
Phone: (785) 296-6432; Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov
LWMS Annual Report Instructions - Revised January 2021

## Annual Report
Kansas Department of Health and Environment
| 20__ |  | NPDES CAFO PERMIT - ANNUAL REPORT | [5 empty] | 20__
FACILITY NAME:
| KDHE PERMIT NUMBER / NPDES PERMIT NUMBER: |  |  |  |  | 0 | / | KS
REPORTING PERIOD (MM/DD/YYYY - MM/DD/YYYY):
I. NUMBER AND TYPE / WEIGHT OF ANIMALS |  |  |  | NUMBER OF ANIMALS |  |  | ANIMAL TYPE / WEIGHT |  |  |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
| Record the maximum number (head) and animal type/weight confined at any one time during the reporting period. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
II. LIVESTOCK WASTE GENERATED
| Record the estimated amount of manure / litter and process wastewater generated at the facility during the reporting period. |  |  |  | Manure / Litter Generated |  |  |  | TONS | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Process Wastewater Generated |  |  |  | GALLONS | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
III. LIVESTOCK WASTE EXPORTED | [9 empty] | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A. Was livestock waste transferred (sold or given away) to other persons during the reporting period? If yes, submit the EXPORTED WASTE REPORT with the Annual Report. | [7 empty] | YES/NO | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| B. Record the estimated or actual amount of manure, process wastewater, litter, and/or compost exported during the reporting period. |  |  |  | Manure Exported |  |  |  | TONS
[5 empty] | Process Wastewater Exported |  |  |  | GALLONS
[5 empty] | Litter Exported |  |  |  | TONS
[5 empty] | Compost Exported |  |  |  | TONS
IV. LIVESTOCK WASTE LAND APPLIED
| A. Was manure/litter and/or process wastewater applied to land included in the facility's Nutrient Management Plan and under the control of the facility during the reporting period? If yes, submit the LAND APPLICATION SUMMARY with the Annual Report. | [7 empty] | YES/NO
| B. Record the total amount of solids and liquids that were land applied during the reporting period. |  |  |  | Solids Land Applied |  |  |  | TONS
[5 empty] | Liquids Land Applied |  |  |  | GALLONS
| C. Record the total acres of land included in the facility's Nutrient Management Plan, whether or not they were used for land application during the reporting period. | [7 empty] | ACRES
| D. Record the total acres of land where manure or process wastewater was spread. Include only land application acres under the control of the facility. | [7 empty] | ACRES
| E. Was the current version of the facility's Nutrient Management Plan prepared or approved by a certified nutrient management planner? | [7 empty] | YES/NO
V. SUMMARY OF REPORTABLE EVENTS
| Was there a water pollution incident, overflow, or discharge of livestock waste from the facility and/or a land application site during the reporting period? If yes, submit the SUMMARY OF REPORTABLE EVENTS with the Annual Report. | [7 empty] | YES/NO
Submit the SUMMARY OF EMERGENCY DEWATERING for any dewatering events during the reporting period.
VI. SOIL AND MANURE TEST RESULTS
Submit copies of any manure, wastewater, and/or soil test results obtained during the reporting period with the Annual Report. However, due to adverse weather conditions, sampling may be conducted into the next year after the current reporting period has ended provided the sampling results are submitted by the reporting due date of February 28th each year for the previous year’s annual reporting period. However, soil and/or manure test results do not need to be submitted with the Annual Report if the results were included with a Nutrient Management Plan during this current annual reporting period.
VII. CERTIFICATION
I certify under penalty of law that this document and all attachments were prepared under my direct supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.
| SIGNATURE | [5 empty] | DATE
PRINT NAME
SUBMIT BY: |  | February 28th of Year Following Reporting Period
SUBMIT TO: |  | KDHE - BEFS - Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov
LWMS Annual Report - Revised January 2021
Note on H8: Enter the reporting period.
Note on J20: Refer to the Waste Generated Tables tab for information on how these numbers are automatically calculated.
Note on J21: Refer to the Waste Generated Tables tab for information on how these numbers are automatically calculated.
Note on J28: Copied from the Exported Waste Report.
Note on J29: Copied from the Exported Waste Report.
Note on J30: Copied from the Exported Waste Report.
Note on J31: Copied from the Exported Waste Report.
Note on J38: Sum of the total amounts applied before and after harvest (located at the bottom of Land Application Summary).
Note on J39: Sum of the total amounts applied before and after harvest (located at the bottom of Land Application Summary).

## Exported Waste
20__ |  |  |  | EXPORTED WASTE REPORT |  |  | 20__
FACILITY NAME:
| KDHE PERMIT NUMBER: |  | 0 |  | NPDES PERMIT NUMBER: | KS
INSTRUCTIONS: |  | Record the following information for all manure, process wastewater, litter and/or compost that was transferred (sold or given away) to other persons during the reporting period:
A. The date the export occurred.
B. The amount (tons or gallons) of waste exported. Record the amount by type of waste (e.g. manure, process wastewater, etc.).
C. The name and address of the person or entity who received the waste.
D. An affirmation of whether or not the most current waste analysis was provided to the recipient. Reminder, the recipient shall be provided with a copy of the most current waste analysis.
E. If additional space is needed, record the preceding information on the extra Exported Waste Report sheet provided (Exported Waste (2)).
|  | Process Wastewater |  |  |  |  | Analysis Provided (Y/N)
Date | Manure |  | Litter | Compost | Name of Recipient | Address of Recipient
| (tons) | (gallons) | (tons) | (tons)
Total | 0 | 0 | 0 | 0
SUBMIT TO: |  | KDHE - BEFS - Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov
LWMS Exported Waste Report - Revised April 2020

## Exported Waste (2)
20__ |  |  |  | EXPORTED WASTE REPORT (Sheet 2) |  |  | 20__
FACILITY NAME:
| KDHE PERMIT NUMBER: |  | 0 |  | NPDES PERMIT NUMBER: | KS
|  | Process Wastewater |  |  |  |  | Analysis Provided (Y/N)
Date | Manure |  | Litter | Compost | Name of Recipient | Address of Recipient
| (tons) | (gallons) | (tons) | (tons)
Total | 0 | 0 | 0 | 0
SUBMIT TO: |  | KDHE - BEFS - Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov
LWMS Exported Waste Report - Revised April 2020

## Land Application
20__ |  |  |  |  | LAND APPLICATION SUMMARY | [7 empty] | 20__
FACILITY NAME: | [6 empty] | KDHE PERMIT NUMBER: | 0 |  |  | NPDES PERMIT NUMBER: | KS
INSTRUCTIONS: | The following information shall be recorded for each field listed in your Nutrient Management Plan (NMP) and under the control of the facility which received solid waste (manure and litter) and/or liquid waste (wastewater) during the reporting period or if the field is undergoing a multi-year phosphorus application cycle:
A. The FIELD ID, the total number of ACRES that received livestock waste, the CROP the waste was applied to, the actual YIELD obtained, the specific livestock WASTE SOURCE, and the APPLICATION METHOD used to apply the waste.
1. Each field shall be recorded once. However, additional lines should be used for double cropping and/or crop failures and if multiple livestock waste sources or application methods were used.
B. The MAXIMUM ALLOWABLE AMOUNT of waste (solids and/or liquids) that could have been applied to that particular field during the reporting period.
1. The maximum allowable amount is specified in your NMP or can be calculated using the methodology specified in the NMP.
C. The actual total amount (tons or gallons) of waste that was applied during the reporting period to the crop before it was harvested.
1. Include waste applied to bare/fallow ground prior to planting.
D. The actual total amount (tons or gallons) of waste that was applied during the reporting period after the crop was harvested (nutrients intended for next year's crop).
E. Record the amount (pounds per acre) of other fertilizer (Nitrogen and/or Phosphorus) applied to that particular field, such as commercial fertilizer.
F. Previous Year After Harvest Application - Record the amount (tons or gallons) of waste that was applied after harvest during the previous years reporting period. This would be the after harvest amount that was shown on last years annual report.
Livestock Waste and/or Process Wastewater Application
Field ID | Total Acres Applied On | Crop | Actual Yield | Waste Source/Type | Application Method | NMP Maximum Allowable Amount |  | Actual Amount Applied |  | Actual Amount Applied |  | Other Fertilizer |  | Previous Year
[8 empty] | Before Harvest |  | After Harvest |  |  |  | After Harvest Application
|  |  | bu or tons |  |  | Solids (tons) | Liquids (gallons) | Solids (tons) | Liquids (gallons) | Solids (tons) | Liquids (gallons) | lbs N / ac | lbs P2O5 / ac | Solids (tons) | Liquids (gallons)
Total | [7 empty] | 0 | 0 | 0 | 0
COMMENTS:
SUBMIT TO: | KDHE - BEFS - Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
| Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov | [8 empty] | LWMS Land Application Summary - Revised January 2021

## Summary of Reportable Events
20__ |  |  |  | SUMMARY OF REPORTABLE EVENTS |  | 20__
FACILITY NAME:
KDHE PERMIT NUMBER: |  |  |  | NPDES PERMIT NUMBER:
INSTRUCTIONS: |  | Record the following information for each water pollution incident, overflow, or discharge from the facility (e.g. broken pipe) and/or land application site that occurred during the reporting period:
A. The date and time the event occurred.
B. The amount (tons or gallons) of waste that was released. Record the amount by the type of waste (e.g. solid, liquid or litter).
C. A short description of the event.
D. The location of the event.
E. An affirmation of whether or not corrective action was taken.
NOTE: Routine land application of waste and exported waste do not need to be recorded.
REMINDER: All water pollution incidents, overflows, or discharges are required to be reported immediately upon discovery [within two hours] to KDHE by telephone at (785) 296-1679 and a written report or Reportable Event Form shall be submitted to the KDHE Livestock Waste Management Section within three days of the incident. The Reportable Event Form is located at the Livestock Waste Management Section Website - https://www.kdheks.gov/feedlots/index.html
Corrective
Date & Time of Event | Solid Waste | Liquid Waste | Litter | Description of the Event | Location of the Event | Action Taken
| (tons) | (gallons) | (tons) |  |  | (Y/N)
SUBMIT TO: |  | KDHE - BEFS - Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov
LWMS Summary of Reportable Events - Revised January 2021

## Summary of Emergency Dewatering
20__ |  |  |  | SUMMARY OF EMERGENCY DEWATERING |  | 20__
FACILITY NAME:
KDHE PERMIT NUMBER: |  |  |  | NPDES PERMIT NUMBER:
INSTRUCTIONS: |  | IMPORTANT NOTE: Prior approval is required for any emergency dewatering event. Failure to acquire approval could result in the dewatering event being classified as an unauthorized discharge and a violation of the facility permit conditions.
Record the following information for each emergency dewatering event that occurred during the reporting period:
A. The date emergency dewatering occurred as well as start and stop times. A new start time is considered a separate event.
B. The amount (gallons) of waste that was applied or released. Estimate if necessary.
C. The reason for the emergency dewatering.
D. The location of the emergency dewatering. Application field name, or the field section, township, and range.
E. Person responsible for monitoring the application field for any wastewater runoff flowing beyond the field boundaries.
Any wastewater runoff leaving the boundaries of the application field must be reported.
REMINDER: All water pollution incidents, overflows, or discharges are required to be reported immediately upon discovery [within two hours] to KDHE by telephone at (785) 296-1679 and a written report shall be submitted to KDHE within three days of the incident if the dewatering resulted in runoff leaving the field.
Date of Emergency Dewatering | Start time | Stop time | Liquid waste | Reason for Emergency Dewatering | Location of Emergency Dewatering | Monitored for runoff by (name)
(gallons)
SUBMIT TO: |  | KDHE - BEFS - Livestock Waste Management Section, 1000 SW Jackson St. Suite 430, Topeka, KS 66612-1367
Fax: (785) 559-4258; Email: kdhe.feedlots@ks.gov
LWMS Emergency Dewatering Summary - January 2021

## Waste Generated Tables
WASTE GENERATED TABLES
Manure / Litter Generated:
The amount of solid waste generated by your facility may be estimated using Table 1. For each animal type, multiply the head count times the amount of manure generated as listed in Table 1 times the number of days in the reporting period, and divide by 2000 lbs/ton. If you are utilizing the Workbook electronically, the annual amount of manure/litter generated on the Annual Report is automatically calculated by summing the amount of waste generated for each animal type, for each month, based on the head counts provided on the monthly reports.
Process Wastewater Generated:
The amount of liquid waste generated may be estimated by totaling the number of gallons applied and/or exported during the reporting period. If you are utilizing the Workbook electronically, the annual amount of wastewater generated on the Annual Report is automatically calculated by summing the total amount exported and the total amount land applied. For swine facilities, you may alternatively use Table 2 to estimate the number of gallons generated as described below.
Note: Alternative methods may be used to estimate the amount of waste generated at your facility. These tables and calculations are provided for your convenience.
Table 1. Average Daily Manure Generated
(pounds per head per day)
Beef Cattle | Dairy |  |  | Poultry |  |  |  | Horses | Sheep/Goats
| Calves | Heifers | Cattle | Broilers (litter) | Layers | Turkeys (litter) | Ducks
7.76 | 6.52 | 18 | 39.6 | 0.044 | 0.066 | 0.24 | 0.136 | 14.9 | 1.43
[6 empty] | Head | Manure | Days | Tons
Head = Maximum head count during the reporting period
Manure = Average daily wet manure generated (lbs/hd/day) from Table 1
Days = Number of days in the reporting period
Total
Table 1 Notes:
Beef Cattle: | Assumes 5.2 lbs total solids excreted per head per day (Table 4-8), 1000 lb animal weight, and 33% manure moisture content (Table 4-16).
Dairy Calves: | Assumes 3.0 lbs total solids excreted per head per day (Table 4-5), 330 lb animal weight, and 54% manure moisture content (Table 4-16).
Dairy Heifers: | Assumes 8.3 lbs total solids excreted per head per day (Table 4-5), 970 lb animal weight, and 54% manure moisture content (Table 4-16).
Dairy Cattle: | Assumes 18.2 lbs total solids excreted per head per day (Table 4-5) which is the average for dry and lactating cows at all levels of milk production, 1375 lb lactating cow weight, 1660 lb dry cow weight, and 54% manure moisture content (Table 4-16).
Broiler Litter: | Assumes 0.044 lbs per head per day as transferred for utilization (Table 4-16).
Layers: | Assumes leghorn hens at 0.066 lbs per head per day as transferred for utilization (Table 4-16).
Turkey Litter: | Assumes 0.24 lbs per head per day as transferred for utilization (Table 4-16).
Ducks: | Assumes 3.7 lbs total solids excreted per finished animal (Table 4-11), 39 days fed, and 30% manure moisture content (Table 4-16).
Horses: | Assumes 8.5 lbs total solids excreted per head per day (Table 4-14) which is the average for sedentary and exercised horses, 1100 lb animal weight, and 43% manure moisture content (Table 4-16).
Sheep/Goats: | Assumes 1.0 lb total solids excreted per head per day (Table 4-13), 100 lb animal weight, and 30% manure moisture content.
Tables referenced are from the NRCS Agricultural Waste Management Field Handbook Part 651, Chapter 4, Agricultural Waste Characteristics (March 2008)
http://policy.nrcs.usda.gov/OpenNonWebContent.aspx?content=17768.wba
Table 2. Average Daily Swine Manure Generated
(gallons per head per day)
Gestating Sow, 440 lbs |  | Lactating Sow, 423 lbs |  | Boar, 440 lbs |  | Nursery Pig, 27.5 lbs |  | Grow to Finish, 154 lbs
1.35 |  | 3.07 |  | 0.97 |  | 0.29 |  | 1.25
[6 empty] | Head | Manure | Days | Gallons
Head = Maximum head count during the reporting period
Manure = Average daily wet manure generated (gal/hd/day) from Table 2
Days = Number of days in the reporting period
Total
Table 2 Notes:
Gestating Sow: | Assumes 0.18 cubic feet wet manure excreted per head per day (Table 4-10) and 7.48 gal = 1 cubic foot.
Lactating Sow: | Assumes 0.41 cubic feet wet manure excreted per head per day (Table 4-10) and 7.48 gal = 1 cubic foot.
Boar: | Assumes 0.13 cubic feet wet manure excreted per head per day (Table 4-10) and 7.48 gal = 1 cubic foot.
Nursery Pig: | Assumes 1.4 cubic feet wet manure excreted per finished animal (Table 4-10), 36 days fed, and 7.48 gal = 1 cubic foot.
Grow - Finish: | Assumes 20.0 cubic feet wet manure excreted per finished animal (Table 4-10), 120 days fed, and 7.48 gal = 1 cubic foot.
Tables referenced are from the NRCS Agricultural Waste Management Field Handbook Part 651, Chapter 4, Agricultural Waste Characteristics (March 2008)
http://policy.nrcs.usda.gov/OpenNonWebContent.aspx?content=17768.wba
LWMS Waste Generated Tables - Revised October 2011

## HideTables (hidden)
animaltype | solidsfactor | soilcond | Application method
Beef Cattle < 700lbs | 7.76 | f | Pivot
Beef Cattle > 700lbs | 7.76 | t | Flood
Chickens - Broilers | 0.044 | s | Traveling Gun
Chickens - Layers | 0.066 | sc | Spreader/Surface
Dairy Calves | 6.52 |  | Spreader/Incorp.
Dairy Cattle | 39.6 |  | Honey Wagon/Surface
Dairy Heifers | 18 |  | Honey Wagon/Incorp.
Ducks | 0.136 |  | Other
Goats | 1.43
Horses | 14.9
Other
Sheep | 1.43
Swine < 55lbs
Swine > 55lbs
Turkeys | 0.24
Source - NRCS Agricultural Waste Management Field Handbook Part 651, Chapter 4, Agricultural Waste Characteristics (March 2008)
http://policy.nrcs.usda.gov/OpenNonWebContent.aspx?content=17768.wba